## Export All
Question text | Julia
Where will the recording be available? And it is possible for personal accounts? | Slides, recording and Q&A will be posted here https://www.esig.energy/event/lltf-kickoff-webinar/
How will ESIG LLTF be different from NERC LMWG? | ESIG LLTF has broader scope, with 8 topics spanning forecasting, RA, Markets etc. For the parts that do overlap with NERC, we will coordinate. We also hope that with ESIG not being a regulatory body to have a more constructive discussion about equipment capabilities and limitations, where people will be able to share their ideas and best practices more openly.
Large Loads will often require new generation What is the plan in the process to integrate load and generation transmission and interconnection planning? | We will include consideration of co-location with generation in all relevant project teams of LLTF and will also have specific Resource Adequacy-focused project team adressing system-wide RA consideraitons
When we talk about Large Loads (LLs), does that include the generation at these LL facilities? | We will consider co-located gen but when we are saying LL, we mean just a load portion. Considerations and impacts of backup generation at these LL facilities will be considered, especially if they run parallel with the utility connection.
How will this activity relate to EPRI and other DOE supported activities? | We will coordinate with all ongoing activities to avoid overlap and share information with each other
for the large load interconnection requirements, is it also target for BTM, GFM, flex etc? | Yes, anything related to load connection will be included
will ESIG also be intentionally engaging with utility consumer advocates, as well? | We were hoping they'll engage with us, if you have any specific contacts of groups to include please let us know.
there is no clear ride through requirement for loads, how we can expect loads to ride through? what standard they should follow? | There are currently no standard for this in the U.S., the goal of the interconnection requirements project team will be two-fold. To understand what are power system needs for large load ride-through, and what are capabilities and limitations of various types of LL to ride through. A trade-off may need to be found between these two.
How is IEEE Std 1668 applied to assessing large loads? | This is a standard for equipment rated 1000 V or less, and may be relevant as we unpack facility design This all applies to load performance requirements (IEEE 1668, SEMI F47, ITIC/CBEMA etc.). Importantly these standards are meant to ensure that the device running the process does not disrupt the process for "acceptable grid disturbances". Sometimes to achieve these standards folks will use VFDs or even UPSs. These standards are more of a load facing standard as compared to IEEE 2800/1547 which are grid facing standards. That said, these have implications on what the grid sees as a response from the device. We should look to cover at the very least at a high level, what these standards imply and how (or how not) its relevant for grid planning.
Will ESIG engage with the companies who make the hardware used in large loads? Ex, those that make VFDs, computer power supplies, etc., to get them onboard? | Yes, we would very much like to do that and actively persuing them as potential LLTF participants if you have any relevant contacts please share with us (julia@esig.energy)
As Academia and Researcher how can I be engaged in the dynamic load modelling , forecasting and interconnection processes? | Please fill in the survey and mark the areas of your interest https://t.e2ma.net/click/gnl1ni/wrf4ivw/0irqi5. If your university is not an ESIG member and wouldn't like to join, we have options for academics to join as individual mebmers. Please reach out to ryan@esig.energy
Is the task force taking new members? | Yes, please fill in the survey to sign up for the topics of your interest https://t.e2ma.net/click/gnl1ni/wrf4ivw/0irqi5
From a transmission point of view large load develpers can significantly overestimate their loads by 10-100s MVA. What best practices are there to make estimates more accurate? | From our discussion with data center developers, they like to reserve a e.g., 20% margin on the load. For example a 1 GW facility may be consuming only 800 MW. Their reasoning is that sometimes that margin is needed for HVAC equipment to go into an overdrive to cool down the facility. E.g., if the HVAC system is disrupted momentarily the heat buildup in a data center can be significant and as the HVAC comes back, there will be an increase in HVAC consumption for a few minutes. Many data centers have a concept of base load and peak load now. If this question is more related to understanding speculative large loads applications then this is something that data collection, forecasting, interconnection process, trasnmission and RA project teams will be including in their work.
for the large load requirements, is it also target for BTM, FTM, flex etc? as in some cases, it will be combined system with generator + LL of interest. | We will consider co-located gen, as well as if it makes more sense to develop combined requirements at the POI or separate for each piece. It's a great question to add to the scope
How are the energy demands and transient load profiles of LLM data centers being modeled for grid integration and stability optimization? | This will be something that Modeling Project Team, Interconnection Process (incl. studies) and Requirements Project Teams will be working on
We've found data centers won't release even information about annual ramps in demand let alone sub hourly/sub second demand. Is there an alternative source? | We also hope that with ESIG not being a regulatory body to have a more constructive discussion about equipment capabilities and limitations, where people will be able to share their ideas and best practices more openly. Another approach could be to address this from required performance side, i.e. define pefromance that power system can and cannot live with and then LL sites can be designed accordingly without disclosing their IP
Is there a "stranded assets" risk if the data center builds don't materialize as forecasted? How can the overinvestment risk be mitigated? | This is something that data collection, forecasting, interconnection process, transmission and RA project teams will be including in their work
How do we quantify the risk of large loads not materializing? Is there a risk of overbuilding to meet an uncertain long-term load forecast?
From a transmission planning point of view, how can the confidence level for speculative large load projects be solidified or dealt with?
What challenges do aggregated DERs and renewable energy generation pose in reliably meeting the demands of large loads? | This is something that RA project teams will be including in their work
how does sign up for a specific task force work? if we've already indicated interest via the poll, do we just wait to hear back? | Yes, if you already filled in the poll, then we'll reach out to you in early Jan, when each project team will start their work. Poll results are being used to form the distribution lists for each
what's the timeline for the task force? | 8-16 month depending on the project team. All will start in Jan and will rap up in Q4 2025 - Q1 2026. We have defined deliverables and delivery dates for each project team (workstream) but the project team leads will plan intermediate milestones individually
What are the timelines for the task force work streams? Are they the same?
What is the timeline for this task force? Have you defined (or will each workstream define) the milestones and delivery dates?
Will the interconnection subgroup look at rules and requirements for co-located large loads? | Yes
Parag Mitra EPRI kindly I'm currently interested on modelling design and practice, | Please fill in the survey and mark the areas of your interest https://t.e2ma.net/click/gnl1ni/wrf4ivw/0irqi5.
which power system software tools are recommended for modeling these novel large loads? | This will depend on type and focus of each specific study. Similarly to IBR impacts for some phasor domain simulations with PSS/E (or a similar tool will be sufficient), for more detailed studies EMT tools such as e.g. PSCAD or EMTP will be needed
Is there a list of data (ramp rates, flexibility, etc.) that states should require utiltiies to collect and make public? | This is what data collection project team will be working on. Any results of their work that will be possible to make public, we will share, including guidance on standarized profiles and flexibility requirements by load type.
If ESIG's not covering it, do you know what other organization(s) are covering cost allocation considerations? | This will be a part of regulatory / policy workstream that LBNL will be leading
The large loads we are seeing from hyper scalers are not price sensitive. They are demanding no curtailments. Is it overblown to expect them to play in the mkt? | This is something that Markets Project Team will explore.
How can the group address the lack of model for assessment? | This is exactly what Modeling Project Team, Interconneciton Requirements Project Team and Interconnection Process team will be focusing on
Which one of these groups will deal with real-time operational concerns? | We intend to cover it as part of Interconnection Requirements, Modeling and Process / Studies to ensure we capture behaviors expected in Operations in planning studies, and assigning requirements accordingly. We believe we should endaevor to capture potential operational challenges where appropriate on other project teams, e.g. flexibility that these loads can provide which span over minutes and affects real time ops need to be considered in the other areas e.g. reserve allocation.
One question should be what are the right incentives for large loads that will outweigh their risk of providing flexibility. | Yes, Markets Project Team will be looking into this aspect
What do you essentially mean when you say that a load is "flexible"? | Yes, data collection team, load forecasting, Markets and RA Project Teams will be working on that, possibly others too. The hope is to be able to standraize "load flexibility" by load type.
How often will the groups meet? What is the time expectation? | Project Teams will meet with approximately monthly cadence. Some project teams may have joined meetings to reduce the amount of meetings overall.
Will task force meetings all be online or will some be in person? | Project Teams will be meeting online. There'll be 3 workshops as we mentioned during the webinar, which will be in person, but won't be organized as the project team meetings, mode like presentations and panels style
We need to get the best power systems engineers talking with the best engineers at the large loads! Help eliminate those barriers. | Yes! We are looking for more load developer participation, if you have any contacts please share with us.